## Slide 1: Course Title: ISO13485
Faculty: Anand Malaji

## Slide 2: Agenda
Overview of ISO13485

## Slide 3: Version
Version | Reviewed by | Approved by | Remarks
1.0 | Sandeep Talya | KNS acharya | Initial Release

## Slide 4: Learning Outcome of the Course
  Understanding of ISO 13485
    ISO 13485 & its benefits
    Difference between ISO 9001 & ISO 13485
    Requirements of ISO 13485
  Requirements of 21CFR 820 (USFDA) and 2017/745 (EU MDR)

## Slide 5: Pre-Requites for the Course
Understanding of ISO 9001 or any QMS Standards (Preferred, not Mandatory)

## Slide 6
ISO13485

## Slide 7
ISO 13485
What is ISO13485?
Who uses ISO13485?

## Slide 8
ISO 13485
What is ISO13485?
World wide Quality Management System Standard for Medical Device Organizations.
It is an internationally agreed way to implement common regulatory concepts that support maximizing the potential benefits of making the strategic decision to implement a quality management system.

## Slide 9
ISO 13485
Potential Benefits of ISO13485.
Enhances the organizations ability to meet customer and regulatory requirements.
Helps organizations capability to address Product safety and effectiveness.

## Slide 10
ISO 13485
ISO13485 is NOT
It does not define the product and or services requirements provided by organizations.
It does not define other business requirements or initiatives.

## Slide 11
ISO 13485
What is the difference between ISO 9001 and ISO 13485?
Even though ISO 13485 is a stand-alone standard, it is based on ISO 9001.
ISO 9001 is an internationally recognized standard for any organization in any industry, the ISO 13485 standard includes additional requirements that are specific for companies that manufacture ISO medical devices.
Some additional requirements of ISO 13485 for ISO medical devices include:
    Documentation requirements for medical device files
    Work environment requirements
    Contamination control requirements
    Production requirements for cleanliness of products
    Production requirements for sterile medical devices
    Requirements for reporting to regulatory authorities
As can be seen, these additional requirements are applicable only to medical device manufacturers.

## Slide 12
ISO 13485
What is “ISO 13485 certified”?
Certification of a company’s Quality Management System (QMS) against the ISO 13485 requirements.
ISO 13485 certification for a company involves implementing a QMS based on the ISO 13485 requirements, and then hiring a recognized certification body (e.g., TUV, UL, BSI) to audit and approve your QMS as meeting the requirements of the ISO 13485 standard.
Once all of the processes and procedures are in place, you will need to operate the QMS for a period of time. By doing this, you will be able to collect the records necessary to go to the next steps:
    to audit and review system and get certified. After finishing all documentation and implementing it, organization also needs to perform these steps to ensure a successful certification:

## Slide 13
ISO 13485
What is “ISO 13485 certified”?
Internal audit – The internal audit is, for you to check your QMS processes. The goal is to ensure that records are in place to confirm compliance of the processes and to find problems and weaknesses that would otherwise stay hidden.
Management review – A formal review by your management to evaluate the relevant facts about the management system processes in order to make appropriate decisions and assign resources.
Corrective actions – Following the internal audit and management review, you need to correct the root cause of any identified problems and document how they were resolved.
The company certification process is divided into two stages:

## Slide 14
ISO 13485
What is “ISO 13485 certified”?
Stage One (documentation review) – The auditors from your chosen certification body will check to ensure your documentation meets the requirements of ISO 13485.
Stage Two (main audit) – Here, the certification body auditors will check whether your actual activities are compliant with both ISO 13485 and your own documentation by reviewing documents, records, and company practices

## Slide 15: ISO 13485
Is ISO 13485 mandatory?

## Slide 16: ISO 13485
SO 13485 is not mandatory.
Organizations can create a QMS that suits their needs, so long as the processes of the QMS meet the legal and regulatory requirements for medical devices where they intend to manufacture and sell them.
By using the ISO 13485 requirements to create QMS, organizations can ensure that they have a world-class system for meeting the needs of customers and legislators for medical devices. ISO 13485 provides more than the bare minimum to meet a legal requirement; it provides a whole system that is devoted to helping organizations make quality processes better.

## Slide 17: ISO 13485
What are the requirements of ISO 13485?
The ISO 13485 structure is split into eight sections, with the first three being introductory, and the last five containing the mandatory requirements for the Quality Management System
1 Scope
2 Normative references
3 Terms and definitions
4 Quality management system
5 Management responsibility
6 Resource management
7 Product realization
8 Measurement, analysis and improvement

## Slide 18: ISO 13485
What is the current version of ISO 13485?

## Slide 19: ISO 13485
The latest revision of ISO 13485 is 2016 and it brings changes in the following areas:
Application of risk-based thinking to QMS processes outside of product realization
Evaluations related to changes in regulatory requirements during management reviews
Assuring that training is effective in achieving competency of personnel to perform their functions
Requirements related to design transfer and design records
Design verification, and validation of process and medical device software
Requirements for the protection of confidential health information
Clarification and additional requirements focused on complaint handling (requirements for documentation of complaint handling procedures, timely handling of complaints, and compliance with regulatory requirements)
Planning requirements for corrective and preventive actions.

## Slide 20: 21 CFR 820 (US FDA)
https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfcfr/CFRSearch.cfm?CFRPart=820

## Slide 21: EU MDR (2017/745)
https://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX:32017R0745

## Slide 22: ISO 13485
References:
https://www.greenlight.guru/blog/iso-13485-qms-medical-device
https://advisera.com/13485academy/what-is-iso-13485/
https://advisera.com/13485academy/blog/2017/01/18/list-of-mandatory-documents-required-by-iso-134852016/
https://www.iso.org/obp/ui#iso:std:iso:13485:ed-3:v1:en:sec:4

## Slide 23: Session Summary
ISO 13485 is specifically created for companies working on the Medical Device field. Companies that sell Medical Device products, or provide a service to those medical devices (Installation, maintenance, cleaning…) need to comply with this standard if they choose to have an ISO one.

## Slide 24
Thank You !